Compact Hepa Filter

Manufactured, tested, and certified at Arabo Filter’s advanced cleanroom production facility, the Box Type HEPA Filter is engineered to deliver high-efficiency particle retention with minimal resistance. Compliant with EN-1822 & ISO-29463, our box filters provide superior filtration performance while maintaining stable airflow, making them ideal for precision-controlled environments.

With rigid media construction and European-grade materials, these filters handle airflow up to 2000 CFM (~3,400 m³/hr), capturing particles ≥0.3 µm. The robust design ensures long service life, low energy use, and stable operation in demanding HVAC and cleanroom settings.

- Compliant with EN-1822 & ISO-29463; factory-tested for ≥99.99% efficiency at H14.

- Built with TAPPI-tested European media, pleated and assembled in ISO-class cleanrooms.

- Available in standard and custom sizes: frame depths 150–300 mm, plastic or galvanized steel frames, operating up to 80 °C.

Markets/applications section

Oil & Gas // Petrochemical // Pharmaceutical // Food & Beverage // Water treatment

Related Products:

Cation Tank – Filter Housing–  Hydraulic Filter